## Slide 1: PICAP Design review
Brendan Bickford

## Slide 2: Outline
Advisors
Background
Design specifications
Concept Instrumentation
Design Assemblies

## Slide 3: Advisors
Advisors:
Dr. May-Win Thein
Dr. James Connell
Dr. Clifford Lopate
Grad student:
Dan Tran

## Slide 4: Background
Positron Identification by Coincidental Annihilation Photons
New design for detecting and distinguishing energetic particles (positions & negatrons)
Project goal: Build and test a proof of principle prototype telescope

## Slide 5: Design Criteria and constrains
Minimize mass within design constraints
Specific placement and size for solid state detectors and scintillation material
Provide efficient particle detection (structure limitations)
Provide a working proof of principle prototype for this new detection method
- This means
Faraday cage required
Eliminate cross talk between scintillators
Exclude light
Purge ports for solid state detectors

## Slide 6: Flight vs. Prototype
Conductive epoxy simple pieces rather then hog complex pieces from stock
Custom off the self parts
Minimize weight within budget, knowing this could be reproduced with less weight but at higher cost

## Slide 7: Instrument concept
Cross section view of proposed design
  C- Plastic scintillation material
  G- Heavy scintillation material
  D- Solid state detectors
  S- Plastic scintillation material

## Slide 8: Instrument concept
Top view proposed design
  C- Plastic scintillation material
  G- Heavy scintillation material
  D- Solid state detectors
  S- Plastic scintillation material

## Slide 9: Concept vs. Design
Cross section view
  C- Plastic scintillation material
  G- Heavy scintillation material
  D- Solid state detectors
  S- Plastic scintillation material

## Slide 10: Concept vs. Final design
  C- Plastic scintillation material
  G- Heavy scintillation material
  D- Solid state detectors
  S- Plastic scintillation material

## Slide 11: Dimensions
Total Height | 16.78 cm
Total width | 22.47 cm
Total mass | 3.3 kg
Total Volume | 1985 cm^2

## Slide 12: Photomultiplier tube assembly
Red- Active components
Blue- Teflon
Black- Other

## Slide 13: Scintillator assembly

## Slide 14
Scintillator assembly - top view cross section

## Slide 15
Scintillator assembly - center cross section

## Slide 16: Top Anti coincidence shield

## Slide 17
Anti coincidence shield – center cross section

## Slide 18
Top view
Anti coincidence shield - top view

## Slide 19: Cover assembly

## Slide 20
Cover and brass foil - side view
Cover and brass foil

## Slide 21
Cover - exploded view

## Slide 22
Center Cross section
Solid state detector column assembly

## Slide 23: Base Assembly

## Slide 24
Base Assembly - center cross section

## Slide 25: Cylinder assembly

## Slide 26
Cross section
Cylinder assembly - center cross section

## Slide 27: Photomultiplier tube support assembly

## Slide 28
Top view
Photomultiplier tube support assembly – Center cross section

## Slide 29: Final assembly